## OJT Definitions
OJT WORK PROCESSES DEFINITIONS
Work Process | Definition | Required Hours
Safety | Fall Protection, Toolbox Talks, OSHA Requirements, Job Site Clean-up and Inspection | 200
Care and Use of specialized Tools | Torch Set, Lifts, Rigging Equipment, Meters, Gauges, Scale | 300
Electrical Schematics | Reading a Writing Electrical Schematics, Control, Line, Load | 300
Brazing, Soldering, Piping | Pipe Fitting, PVC, Copper, Torch use | 400
Hydronic Systems | Hot Water Loop Troubleshooting, Chilled Water Loop Troubleshooting | 300
Maintenance | Split Systems, Package Units, Pumps, Boilers, Chillers, Controls Equipment | 800
Heating Troubleshooting | Gas Fired Equipment, Heat Pumps, Boilers, Hot Water Heater | 700
Cooling Troubleshooting | DX Systems, Chillers, Refrigeration | 700
Client Relations | Communication, XOI, Check in/out, Service Call Description, Notes | 300
Total Program OJT Hours |  | 4000